## PXI-6238
Standard |  | User Inputs | [5 empty] | Called From Elswhere
Channel | Signal Range | Sensor Name | Sensor ID | Power Source | Connection Diagram | Wire Gauge | Signaling? | Scale | Measurand | Units | Model # | Calibration
Current 0 | 20mA | Fuel Flow | FM_001 | Internal |  |  | T | Fuel_Flow_Meter_Current_linear | Flow
Current 1 | 20mA | Water Flow | FM_002 | Internal |  |  | T | Water_Flow_Meter_Current_linear | Flow
Current 2 | 20mA | Seeder Scale | SD_001 | Internal |  |  | T | Seeder_Current | Mass
Current 3 | 20mA | Chamber Pressure | TR_001 | External |  |  | T | Transducer_PX219-200AI_Current_linear | Pressure
Current 4 | 20mA
Current 5 | 20mA
Current 6 | 20mA
Current 7 | 20mA

## Alicats
Fluid | Model Number | Units
O2
Ar